## Tabelle1
100	Medical
101	Personal Emergency
102	Fail to report in
110	Fire
111	Smoke
112	Combustion
113	Water flow
114	Heat
115	Pull Station
116	Duct
117	Flame
118	Near Alarm
120	Panic
121	Duress
122	Silent
123	Audible
124	Duress - Access granted
125	Duress - Egress granted
130	Burglary
131	Perimeter
132	Interior
133	24 Hour (Safe)
134	Entry/Exit
135	Day/Night
136	Outdoor
137	Tamper
138	Near alarm
139	Intrusion Verifier
140	General Alarm
141	Polling loop open
142	Polling loop short
143	Expansion module failure
144	Sensor tamper
145	Expansion module tamper
146	Silent Burglary
147	Sensor Supervision Failure
150	24 Hour Non-Burglary
151	Gas Detected
152	Refrigeration
153	Loss of heat
154	Water Leakage
155	Foil Break
156	Day Trouble
157	Low bottled gas level
158	High temp
159	Low temp
161	Loss of air flow
162	Carbon Monoxide detected
163	Tank level
200	Fire Supervisory
201	Low water pressure
202	Low CO2
203	Gate valve sensor
204	Low water level
205	Pump activated
206	Pump failure
300	System Trouble
301	AC Loss
302	Low system battery
303	RAM checksum bad
304	ROM checksum bad
305	System reset
306	Panel programming changed
307	Self-test failure
308	System shutdown
309	Battery test failure
310	Ground fault
311	Battery Missing/Dead
312	Power Supply Overcurrent
313	Engineer Reset
320	Sounder/Relay
321	Bell 1
322	Bell 2
323	Alarm relay
324	Trouble relay
325	Reversing relay
326	Notification Appliance Ckt. #3
327	Notification Appliance Ckt. #4
330	System Peripheral trouble
331	Polling loop open
332	Polling loop short
333	Expansion module failure
334	Repeater failure
335	Local printer out of paper
336	Local printer failure
337	Exp. Module DC Loss
338	Exp. Module Low Battery
339	Exp. Module Reset
341	Exp. Module Tamper
342	Exp. Module AC Loss
343	Exp. Module self-test fail
344	RF Receiver Jam Detect
350	Communication trouble
351	Telco 1 fault
352	Telco 2 fault
353	Long Range Radio xmitter fault
354	Failure to communicate event
355	Loss of Radio supervision
356	Loss of central polling
357	Long Range Radio VSWR problem
370	Protoection loop
371	Protection loop open
372	Protection loop short
373	Fire trouble
374	Exit error alarm (zone)
375	Panic zone trouble
376	Hold-up zone trouble
377	Swinger trouble
378	Cross-zone trouble
380	Sensor trouble
381	Loss of supervision - RF
382	Loss of supervision - RPM
383	Sensor tamper
384	RF low battery
385	Smoke detector Hi sensitivity
386	Smoke detector Low sensitivity
387	Intrusion detector Hi sensitivity
388	Intrusion detector Low sensitivity
389	Sensor self-test failure
391	Sensor Watch trouble
392	Drift Compensation Error
393	Maintenance Alert
400	Open/Close
401	O/C by user
402	Group O/C
403	Automatic O/C
404	Late to O/C
405	Deferred O/C
406	Cancel
407	Remote arm/disarm
408	Quick arm
409	Keyswitch O/C
411	Callback request made
412	Successful download/access
413	Unsuccessful access
414	System shutdown command received
415	Dialer shutdown command received
416	Successful Upload
421	Access denied
422	Access report by user
423	Forced Access
424	Egress Denied
425	Egress Granted
426	Access Door propped open
427	Access point Door Status Monitor trouble
428	Access point Request To Exit trouble
429	Access program mode entry
430	Access program mode exit
431	Access threat level change
432	Access relay/trigger fail
433	Access RTE shunt
434	Access DSM shunt
441	Armed STAY
442	Keyswitch Armed STAY
450	Exception O/C
451	Early O/C
452	Late O/C
453	Failed to Open
454	Failed to Close
455	Auto-arm Failed
456	Partial Arm
457	Exit Error (user)
458	User on Premises
459	Recent Close
461	Wrong Code Entry
462	Legal Code Entry
463	Re-arm after Alarm
464	Auto-arm Time Extended
465	Panic Alarm Reset
466	Service On/Off Premises
501	Access reader disable
520	Sounder/Relay disable
521	Bell 1 disable
522	Bell 2 disable
523	Alarm relay disable
524	Trouble relay disable
525	Reversing relay disable
526	Notification Appliance Ckt. #3 disable
527	Notification Appliance Ckt. #4 disable
531	Module Added
532	Module Removed
551	Dialer disabled
552	Radio transmitter disabled
553	Remote Upload/Download disabled
570	Zone/Sensor bypass
571	Fire bypass
572	24 Hour zone bypass
573	Burg. bypass
574	Group bypass
575	Swinger bypass
576	Access zone shunt
577	Access point bypass
601	Manual trigger test report
602	Periodic test report
603	Periodic RF transmission
604	Fire test
605	Status report to follow
606	Listen-In to follow
607	Walk test mode
608	Periodic test - System Trouble Present
609	Video Xmitter active
611	Point tested OK
612	Point not tested
613	Intrusion Zone Walk Tested
614	Fire Zone Walk Tested
615	Panic Zone Walk Tested
616	Service Request
621	Event Log reset
622	Event Log 50% full
623	Event Log 90% full
624	Event Log overflow
625	Time/Date reset
626	Date/Time inaccurate
627	Program mode entry
628	Program mode exit
629	32 Hour Event Log marker
630	Schedule change
631	Exception schedule change
632	Access schedule change
641	Senior Watch Trouble
642	Latch-key Supervision
651	Reserved for Ademco Use
652	Reserved for Ademco Use
653	Reserved for Ademco Use
654	System Inactivity